## Slide 1: Our Transforming Grid
A Conversation with the Rotary Stampede Park Club
February 15, 2024
Public

## Slide 2: Our Public Interest Mandate
Public

## Slide 3: How the System Works
Public

## Slide 4: Alberta Power System Growth
Public

## Slide 5: An Eventful Time
Public
“For Alberta, this is the first year that renewables generation has provided more generation than coal on an annual basis” AESO 2022 Annual Market Statistics

## Slide 6: January 13, 2024: A Close Call – Albertans Respond
Between January 12 and 15, the AESO experienced four Grid Alerts.
Alberta’s all-time peak load of 12,384MW was set on Thursday, January 11.
An Emergency Alert was issued on Saturday the 13th – Albertans reduced load by 200MW.
Key reasons help explain what caused the Emergency Alert:
  Extreme cold – high demand
  Low wind and no solar – expected and forecast
  Neighbouring jurisdictions under strain
  Some natural gas generation outages
  Emergency reserves, batteries and imports usage
  Significant equipment malfunction concern
Life and Property at risk if something went wrong with rotating outages.
Public
Low availability of imports
Outages
Low wind
High demand

## Slide 7: Coal Transition and Emissions
Public
Alberta’s transition away from coal generation has created a meaningful reduction in electricity sector emissions.
The pace of transition has also increased prices in the past few years.
Chart: Coal-to-Gas Conversions and Retirements
| 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Coal Retirement | 0 | 130 | 0 | 0 | 0 | 0 | 279 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 576 | 0 | 517 | 801 | 406
Coal Conversion to Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 2599 | 0
Electricity Sector Emissions | 49166307.8386 | 49797370.8126 | 51233116.3409 | 50054044.2645 | 48690873.6428 | 47953266.3726 | 47964649.1889 | 45903742.2609 | 43372265.104 | 44267490.2713 | 49182994.9804 | 46814017.4217 | 46488375.5825 | 45966262.4353 | 37887991.4712 | 35983592.3734 | 29591674.4374 | 27704315.9597 | 23000000
Chart: Annual Average Pool Price
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
 | 84.7232 | 106.1319 | 61.4821 | 40.73 | 19.7323 | 24.4574 | 59.2844 | 64.1189 | 54.7187 | 122.6073 | 192.1221

## Slide 8: Significant Volume of Generation in the Connection Project List
Public
28.1 GW
10.8 GW

## Slide 9: Renewables Growth
Public
Chart: Installed Capacity (end-of-year), MW
| 2021 | 2025
Solar | 736 | 3401.9
Wind | 2269 | 5839.38
By 2035, AESO’s preliminary assessments indicate approximately 35-40% of our domestic Alberta generation will be provided by renewables, including hydro and biomass.

## Slide 10: Leading the Industry Forward
Public

## Slide 11: What We Are Trying To Accomplish
Public
Affordable Electricity for Consumers
A Reliable Electric Grid
Decarbonization by 2050 and Related Policy Objectives
Reasonable and Realistic Implementation

## Slide 12: Option Value of 2050 vs 2035
Public
Less reliance on “first-of-kind” technologies (costs, operations risks)
Time to develop regulatory processes (i.e., brownfield vs greenfield SMRs)
Adequate time to develop infrastructure (i.e., fuel supply, storage and potentially interties)
Creates optionality to choose between second or third-generation technologies (i.e., hydrogen vs CCUS vs SMR)
2035
2050
Avoids significant cost escalation (i.e., scarce resources) by attempting to complete multiple projects simultaneously

## Slide 13: 2035 vs 2050 Decarbonization
Public
Emissions are expected to reduce to less than 10 Mt per annum before 2030 without any changes as proposed in the Clean Electricity Regulation.
The expected emissions difference between the decarbonization by 2035 and the decarbonization by 2050 scenario is negligible and amounts to 22 Mt between 2023 and 2050.
  Assumes carbon pricing of $170 by 2030 in each scenario
  Assumes supports including the Investment Tax Credits
Chart: 2035 Decarbonization vs 2050 Decarbonization: Electricity Sector Emissions (Excludes Cogeneration)
| 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Historical Electricity Sector Emissions | 49166307.8386 | 49797370.8126 | 51233116.3409 | 50054044.2645 | 48690873.6428 | 47953266.3726 | 47964649.1889 | 45903742.2609 | 43372265.104 | 44267490.2713 | 49182994.9804 | 46814017.4217 | 46488375.5825 | 45966262.4353 | 37887991.4712 | 35983592.3734 | 29591674.4374 | 27704315.9597
2035 | 17253554.4092 | 16277590.0449 | 12750212.8857 | 11286843.1064 | 9388392.8679 | 8831053.1858 | 6867135.8491 | 4688111.3774 | 2864340.1643 | 2118736.0354 | 1499738.703 | 1354738.287 | 1221909.178 | 1057967.3826 | 1159085.7896 | 970488.3461 | 849336.8977 | 840670.6521 | 752974.0947 | 735848.252 | 575982.1475 | 594647.125 | 569639.0798 | 519682.0487 | 475112.7015 | 503351.9858 | 517562.2733 | 423971.4412 | 395097.2009
2050 | 17303359.2241 | 16144638.125 | 12495916.3809 | 10986553.0703 | 9524853.9902 | 8769278.4785 | 7054037.5605 | 4445406.2964 | 2428769.7091 | 2505789.6648 | 1943787.9749 | 2053046.2778 | 1876212.0422 | 2013231.022 | 1976378.4895 | 2781870.7554 | 2000403.9363 | 2232606.2204 | 2308472.5715 | 2375147.873 | 2331137.2607 | 2168494.5137 | 2042453.5215 | 1941789.5093 | 1520077.8777 | 1374731.332 | 1381655.9626 | 1408319.165 | 2259547.1016

## Slide 14: What’s Ahead
A carbon neutral future is certain – timelines are up for debate.
The ideal path forward will achieve it within reasonable timelines, while ensuring reliability and affordability.
All generation types are required for success.
AESO is working closely with government and stakeholders to ensure a safe, affordable and reliable grid, now and in the future.
Reports, Recommendations and Policy Direction.
Public

## Slide 15: The Floor is Open!
Public

## Slide 16: Contact the AESO
Public
  X: @theAESO
  Email: info@aeso.ca
  Website: www.aeso.ca
  Subscribe to our stakeholder newsletter

## Slide 17: Thank you
Public